
AES Ohio Approved Meter Sockets
Listed by Manufacture and Catalog Number

AES-Ohio requires that all meter meet the following 5 requirements
1. Must meet and be approved by UL,

2. Must be ringless style,

3. Must have a means of By-pass,
a. Residential – Must have by-pass horns or lever
b. Commercial – Must have a by-pass lever

4. Must be used for the application it is designed for, sockets can’t not be modified
5. Must not exceed the amperage rating of the socket

100-AMP, RESIDENTIAL & COMMERICAL OVERHEAD SINGLE-PHASE SOCKET


Milbank

# U7487-RL-TG-KK






Durham

# UHT-RS101B



Landis & Gyr

# UAT111-OPQG






# UAT111-OPGP



Siemens

# SUAT111-OPQG






# SUAT111-OPGP



Cutler Hammer
# UHT-RS101BE


Square D

# UHT-RS101B-SQD



Midwest

# UHT-RS101B-MEP

200-AMP, RESIDENTIAL OVERHEAD SINGLE-PHASE SOCKET



Milbank

# U7021-RL-TG-KK





#U7040-XL-TG-KK use for OVHD or UG services



Durham

# UHT-RS203B






# UHT-RS202B



Landis & Gyr

# UAT317-OPQG






# UAT317-OPGP



Siemens

# SUAT317-OPQG






# SUAT317-OPGP






# WRS192CXJ





Cutler Hammer
# UHT-RS203BCH






# UHT-RS202BCH



Square D

# UHT-RS203B-SQD






# UHT-RS202B-SQD



Midwest

# UHT-RS203B-MEP






# UHT-RS202B-MEP
200-AMP, RESIDENTIAL UNDERGROUND SINGLE-PHASE SOCKET



Milbank

# U1980-0-KK



Landis & Gyr
 
# UAS877-PPZA






# UAS877-PPGP



Siemens

# SUAS877-PPZA






# SUAS877-PPGP



Durham

# UHT-RS243A





Cutler Hammer
# UHT-RS243A-CH


Square D

# UHT-RS243A-SQD


Midwest

# UHT-RS243A-MEP
200-AMP, RESIDENTIAL & COMMERICAL SINGLE-PHASE SOCKET WITH BY-PASS LEVER


Milbank

# U9551-RRL



Durham

# UT-H5213B



Landis & Gyr

# HQU40405-025






# HQU40405-02QG



Siemens

# SHQU40405-025






# SHQU40405-02QG



Cutler Hammer
# UT-E5213B-CH



Square D

# UT-H5213B-SQD



Midwest

# UT-H5213B-MEP

NOTE: Single phase services greater than 400 amps will be metered using current transformers. 

320-AMP, RESIDENTIAL & COMMERICAL OVERHEAD SINGLE- PHASE SOCKET WITH BY-PASS LEVER (1 HUB OPENING)


Milbank

# U1079-RRL-K3





Durham

# UT-H4300T



Square D

# UT-H4300T-SQD



Cutler Hammer
# UT-H4300T-CH


Midwest

# UT-H4300T-MEP

320-AMP, RESIDENTIAL & COMMERICAL UNDERGROUND SINGLE- PHASE SOCKET WITH BY-PASS LEVER


Milbank

# U-1129-0-K3L-K2L
# U5794-X-400-CB to be used only on a 3-wire 480-volt service


Landis & Gyr

# HQ4SUT48504-92



Siemens

# SHQ4SUT48504-92



Durham

# UT-H433OU

# UT-H4320-9A






# UCH344N3T


Cutler Hammer
# UT-H4330UCH






# UT-H4320-9A-CH



Square D

# UT-H433OU-SQD






# UT-H4320-9A-SQD



Midwest

# UT-H433OU-MEP





# UT-H4320-9A-MEP
NOTE: Single phase services greater than 400 amps will be metered using current transformers. 
COMBINATION SOCKETS RESIDENTIAL & COMMERICAL
(METER SOCKETS & BREAKER COMBINATIONS) WITH BY-PASS LEVER


Milbank

# U4835-X-2/200-BL

Cutler Hammer
# HPC40SHL




# HP816P400BSL


Siemens

# MM0404L1400RLM





# MM0202B1200RLX

Leviton

#2LO-LS820-BLD
COMBINATION SOCKETS RESIDENTIAL 

(METER SOCKETS & BREAKER COMBINATIONS)



Square D

# RC816F100CH





# RC816F125CH






# RC816F150CH






# RC816F200CH






# RC2M200SH



Milbank

# U5098-XL-200S-KK






# U5168-XTL-200-KK





# U5844-PXL-100-KK






# U5844-PXL-150-KK






# U5844-PXL-200-KK






# U5890-X-2/200-BL






# U5891-X-2/200-MLK-BL
METER PEDESTAL COMMERICAL WITH BY-PASS LEVER
NOTE: THIS PEDESTAL IS INTENDED TO BE USED FOR SERVICES WHERE THERE IS NO BUILDING SUCH AS PARKING LOTS.



Milbank

# CP3B5xxxxAGSP (x’s are order specific)
MOBILE HOME PEDESTALS 
NOTE: THESE PEDESTALS ARE APPROVED TO ONLY SERVE MOBILE HOMES
NOTE: these 3 pedestals must be hard tamped to ensure they remain secure and stable


Milbank

# U5136-0-100S with horn by-pass





# U5136-0-200S with horn by-pass






# U5701-0-200S with lever by-pass

STREET LIGHTING METER PEDESTAL 

NOTE: pedestal must be hard tamped to ensure it remains secure and stable
Milbank


# U3358-O-KK

3-PHASE 3-WIRE & 3-PHASE 4-WIRE COMMERICAL METER SOCKETS

125-amp, 5 Terminal, 3-phase 3-wire 120/208 with Horn By-pass…OH/UG



Durham


# UGHT-RS101B



Cutler Hammer

# UGHT-RS101B-CH



Midwest Electric Products
# UGHT-RS101B-MEP



Square D


# UGHT-RS101B-SQD



Milbank


# U7487-RL-TG-KK with 5TH Terminal Kit/5T8K2
200-amp, 5 Terminal, 3-phase 3-wire with lever by-pass …OH/UG


Durham


# UT-H5213B or T



Cutler Hammer

# UT-E5213B -CH



Midwest Electric Products
# UT-H5213B or T-MEP



Square D


# UT-H5213B or T-SQD


Milbank


# U9551-RRL 
200-amp, 7 Terminal, 3-phase 4-wire with lever by-pass…OH/UG



Durham


# UT-H7213B or T



Cutler Hammer

# UT-E7213B -CH



Midwest Electric Products
# UT-H7213B or T-MEP


Square D


# UT-H7213B or T-SQD



Milbank


# U9701-RRL

#U5767-X-200-CB to be used only on 4-wire 480-volt service
NOTE: Three-phase services greater than 200 amps will be metered using current transformers.
Single-phase services transformer rated services (Metered using Current Transformers)

6-Terminal, transformer rated with lever by-pass 


Milbank



# U4490-XL


Three-phase services transformer rated services (Metered using Current Transformers)

13-Terminal, transformer rated with lever by-pass
(for services with voltages of 120/208 and 120/240 only)


Durham



# 1004671






Cutler Hammer


# 1004671-CH




Midwest Electric Products

# 1004671-MEP





Square D



# 1004671-SQD



Milbank



# U4493-XL



Siemens



# 9804-8547

Three-phase services transformer rated services (Metered using Current Transformers)

13-Terminal, transformer rated with test switch
(for services with voltage of 277/480only)
Durham



# 1012160






Brooks



# 622-8085C13-1811



AES Ohio Requirements for
RESIDENTIAL METER CENTERS

These requirements are for Residential Meter Centers that will be used to supply single-phase electricity to a multi-tenant building through an AES Ohio electric meter.

1. The installation and construction of the meter center must comply with all applicable national, state, electric and building codes, as well as the local inspection authority.

2. Meter centers that serve each unit with a 200 amp or smaller service:
a. Must have “by-pass horns” at the socket blocks so that the customer’s load can be “cut-through” while the meter is inspected or exchanged.

b. Each position must have a “ringless style cover” with a latch style sealing facility.

c. Each position must have a permanent tag identifying the unit that it serves. (See standard on page 9)
d.  The supply section must be separated from the meter section by a barrier. This section must be sealable.

e. The top meter must not be any higher than 72 inches to the top of the meter from final grade.

f. The bottom meter must not be any lower than 24 inches to the top of the meter from final grade. 

AES Ohio Requirements for
RESIDENTIAL/COMMERCIAL SINGLE-PHASE CLASS 320 METER CENTERS AND COMMERCIAL SERVICES 200 THROUGH 400 AMPS
These requirements are for Residential/Commercial Meter Centers that will be used to supply single-phase electricity to a multi-tenant building through an AES Ohio electric meter.

1. The installation and construction of the meter center must comply with all applicable national, state, electric and building codes, as well as the local inspection authority.

2. Meter centers that serve each unit with a 400 amp or smaller service:
a. Must have a “lever by-pass” at the socket so that the customer’s load can be “cut-through” while the meter is inspected or exchanged.

b. Each position must have “ringless style cover” with a latch style sealing facility.

c. Each position must have a permanent tag identifying the unit that it serves. (See standard on page 9)
d. The supply section must be separated from the meter section by a barrier. This section must be sealable.

e. The top meter must not be any higher than 72 inches to the top of the meter from final grade.

f. The bottom meter must not be any lower than 24 inches to the top of the meter from final grade.
NOTE: Single-phase services greater than 400 amps will be metered using current transformers. 

AES Ohio Requirements for
COMMERCIAL THREE-PHASE METER CENTERS

These requirements are for Commercial Meter Centers that will be used to supply three-phase, 120/208 or 120/240, 4-wire electricity to a multi-tenant building through an AES Ohio electric meter.

1. The installation and construction of the meter center must comply with all applicable national, state, electric and building codes, as well as the local inspection authority.

2. Meter centers that serve each unit with a 200 amp or smaller service:
a. Must have a “lever by-pass” at the socket so that the customer’s load can be “cut-through” while the meter is inspected or exchanged.

b. Each position must have “ringless style cover” with a latch style sealing facility.

c. Each position must have a permanent tag identifying the unit that it serves. (See standard on page 9)
d.  The supply section must be separated from the meter section by a barrier. This section must be sealable.

e. The top meter must not be any higher than 72 inches to the top of the meter from final grade.

f. The bottom meter must not be any lower than 24 inches to the top of the meter from final grade.
NOTE: Three-phase services greater than 200 amps will be metered using current transformers. 

NOTE: 480 VOLT “GANGED” METERING TO BE APPROVED BY THE ELECTRIC METER DEPARTMENT BEFORE INSTALLATON. TELEPHONE # 937-331-4549 or 937-331-4897
METER SOCKET LABELING STANDARD

When there is more than one-meter socket at the same location (strip mall, meter center, apartment complex, multi-unit home, etc.) meter sockets must be labelled with a permanent tag.  AES Ohio accepts two different tags, examples shown below.

1. Durable plastic engraved with the unit name epoxied to the meter socket

2. Metal tag stamped with the unit name pop-riveted to the meter center

       [image: image1.jpg]—————




          [image: image2.jpg]’/@




For meter centers where each unit’s main disconnect is directly beside the meter, we prefer that the label be above the unit’s main disconnect, as pictured above. Labels written on the socket with permanent marker or labelled with stickers are not acceptable as these labels will fade or peel away over time. Proper labelling is necessary to ensure utility service work is completed on the proper meter. New services that have not been properly labelled will not be energized. Existing services must be labelled to this standard as well or risk having service disconnected.  
PAGE  
6
Rev. 3-20-2025

